## Slide 1
YUVA YODHA TECH CHALLENGE • SMART BUILDINGS
Thervo
Predictive Cooling for a More Efficient Digital World
AI-driven, sensor-free thermal intelligence for data centers
[ Predictive Thermal Risk Engine ]
[ Zero Hardware Sensors Required ]
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 1 / 10

## Slide 2
PROBLEM ANALYSIS
Cooling is becoming a hidden cost of our digital future
Traditional data center cooling cannot keep up with high-density AI workloads.
• Expanding Energy Demand: AI and HPC create unprecedented power density per server rack.
• Major Energy Share: Cooling represents up to 40% of overall data center electricity usage.
• Reactive Model: Conventional cooling triggers only AFTER heat has already accumulated.
• Blanket Inefficiency: Entire aisles flooded with chilled air even when single racks run hot.
• Delayed Sensor Feedback: Physical probes register heat after thermal stress has developed.
TODAY'S REACTIVE COOLING LOOP
1. Workload Spikes — CPU/GPU load rises
2. Heat Develops — Physical heat accumulates
3. Sensor Detects — Ambient probe triggers
4. Cooling Reacts — Floods entire zone
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 2 / 10

## Slide 3
STRATEGIC RELEVANCE
We shouldn't have to cool everything to protect anything
Precision and foresight are critical for modern data infrastructure sustainability.
• Relentless Compute Growth: Higher density makes blanket cooling cost-prohibitive.
• Operational Inflation: Blanket cooling continuously inflates facility OpEx.
• Thermal Stress Risks: Delayed cooling exposes hardware to throttling & degradation.
• Predictive Shift Needed: Operators require rack-level foresight before heat spikes.
"Thervo asks a simple question: What if we could predict where cooling will be needed before the heat arrives?"
TARGETED vs BLANKET COOLING
TRADITIONAL BLANKET COOLING
Entire server hall chilled uniformly regardless of individual rack utilization.
THERVO TARGETED MICRO-ZONE
Cooling airflow directed specifically to identified high-risk racks pre-emptively.
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 3 / 10

## Slide 4
CORE SOLUTION
Meet Thervo
AI-driven predictive cooling operating in 3 simple steps.
STEP 01
Understand Workload
Ingests server performance telemetry directly from host systems: CPU, GPU, Memory, Disk I/O, Network I/O.
STEP 02
Predict Thermal Risk
Machine learning models convert real-time workload behavior into pre-emptive rack-level thermal risk scores.
STEP 03
Act Before Problem
Cooling airflow is targeted directly toward specific racks where thermal risk is actively developing.
KEY DIFFERENTIATOR: NO DEDICATED TEMPERATURE SENSORS REQUIRED
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 4 / 10

## Slide 5
TECHNICAL ARCHITECTURE
From workload signals to thermal intelligence
Data pipeline and algorithmic foundation driving pre-emptive cooling decisions.
SYSTEM PIPELINE FLOW:
Server Workload Telemetry ➔ Feature Processing ➔ 15-Feature Vector ➔ XGBoost Model + Graph Heat Propagation ➔ Composite Rack Risk ➔ Cooling Orchestration
PRIMARY ENGINE COMPONENTS
• Workload Heat Proxy: CPU and GPU utilization metrics act as heat proxies.
• Graph Thermal Context: Neighboring rack influence modeled via graph propagation.
• XGBoost Risk Engine: Fast, deterministic model yields primary risk scores.
MODEL SPECIFICATIONS
• Composite Fusion: Fuses single-rack XGBoost signal with spatial graph context.
• Normalized Bounding: Outputs strictly bounded within [0.0, 1.0] domain.
• Zero Hardware Overhead: Lightweight inference runs on existing compute nodes.
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 5 / 10

## Slide 6
PRODUCT EXPERIENCE
What an operator sees
Mission control workflow for real-time facility visibility and pre-emptive control.
1. Operator opens Thervo Mission Control dashboard.
2. Views real-time rack-level thermal risk heat grid.
3. Identifies emerging high-risk racks prior to heat buildup.
4. Receives predictive alerts before critical thresholds.
5. Automated cooling triggers engage when risk thresholds breach.
6. Operator retains real-time manual override control.
7. Risk history and energy telemetry log long-term performance.
MISSION CONTROL DASHBOARD MOCKUP
Live Grid Status: • RACK-01: Risk 0.14 [NOMINAL] • RACK-02: Risk 0.42 [COOLING ACTIVE] • RACK-03: Risk 0.78 [WARNING] • RACK-04: Risk 0.91 [CRITICAL ALERT] • RACK-05: Risk 0.22 [NOMINAL] • RACK-06: Risk 0.18 [NOMINAL]
PREDICTIVE ALERT: Rack-04 thermal risk spiking -> TRIGGERING COOLING
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 6 / 10

## Slide 7
COMPETITIVE DIFFERENTIATION
Predictive. Sensor-free. Rack-level.
Reinventing cooling strategy from reactive zones to workload-aware micro-zones.
Dimension | Traditional Cooling Systems | Thervo Thermal Intelligence
Operational Mode | Reactive (Responds post-heat) | Predictive (Acts pre-heat)
Cooling Granularity | Broad / Zone-Level Flooding | Micro-Zone / Rack-Level
Hardware Dependency | Requires Physical Sensors | Uses Existing Telemetry (Sensor-Free)
Decision Logic | Static Temperature Alarms | AI-Driven Risk Scoring
1. Sensor-Free Inference
Utilizes native OS server performance signals, eliminating hardware deployment & maintenance costs.
2. Workload-Aware Foresight
Anticipates thermal generation directly from CPU/GPU compute spikes before heat builds up.
3. Graph Neighbor Model
Models thermal bleed and heat dissipation between adjacent server racks in the aisle.
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 7 / 10

## Slide 8
EXPECTED IMPACT
Less wasted cooling. Earlier intervention. Smarter infrastructure.
Value creation across energy, operational cost, reliability, and sustainability.
ENERGY
Targeted Cooling
Cuts unnecessary cooling by delivering airflow strictly where heat is predicted to accumulate.
COST
OpEx & CapEx Efficiency
Lowers cooling electricity OpEx and avoids capital expense for physical sensor hardware.
RELIABILITY
Early Hazard Mitigation
Identifies emerging thermal risks earlier, reducing hardware stress and thermal throttling.
SUSTAINABILITY
Lower PUE Profile
Supports greener, lower PUE operations for energy-intensive AI digital infrastructure.
KEY BENEFICIARIES: Data-center operators | Infrastructure/SRE teams | Facilities managers | AI cloud providers
Note: Impact metrics represent targeted model goals and simulation benchmarks. Real-world savings vary by facility architecture.
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 8 / 10

## Slide 9
EXECUTION PLAN
From validated system to production-scale cooling intelligence
Clear distinction between completed validation and future deployment phases.
PHASE 0 • COMPLETED | Simulation & Pipeline Validation — Interactive simulator, ML pipeline, synthetic & hardware telemetry validation
PHASE 1 | Pilot Deployment — Live telemetry integration, single-floor deployment, baseline energy comparison
PHASE 2 | Production Scale Expansion — Multi-floor deployment, DCIM integration, production API & role-based access control
PHASE 3 | Advanced Intelligence Layer — Temporal forecasting, anomaly detection, digital twin simulation capabilities
PHASE 4 | Global Enterprise Platform — Multi-facility orchestration, enterprise SaaS offering, global partner ecosystem
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 9 / 10

## Slide 10
TEAM & VISION
Building a smarter way to cool the digital world
Engineered for real-world data center sustainability.
AI & MACHINE LEARNING
[ Team Member 1 ]
Lead AI Architect — Feature engineering, XGBoost predictive modeling, and spatial graph propagation algorithm.
SYSTEMS & TELEMETRY
[ Team Member 2 ]
Systems Engineer — Real-time telemetry ingestion pipeline, OS hardware API bindings, and runtime engine.
PRODUCT & OPERATIONS
[ Team Member 3 ]
Product Lead — Mission Control UX, DCIM integration strategy, and Yuva Yodha Challenge submission.
"Every computation creates heat. We believe cooling should be intelligent enough to know where that heat is going next."
Thervo — "Predict before you cool."
Thervo — Yuva Yodha Tech Challenge (Smart Buildings) Slide 10 / 10